## Cover Sheet
Annual Environment Report
| Version | Version 1.0
| DNO Name: | SSES
| Reporting year (eg, enter 2024 for 2023/24): | 2025
Navigation |  | BCF
SF6 and other IIGs
Losses
Supply chain management
Embodied carbon
Resource use and waste
FFC
Visual amenity and noise
PCB
Biodiversity
DNO Name
ENWL
NPgN
NPgY
WMID
EMID
SWALES
SWEST
LPN
SPN
EPN
SPD
SPMW
SSEH
SSES
Reporting year
2023
2024
2025
2026
2027
2028
Key
Input cells
Within worksheet formula cells (eg totals, averages)
Check cells
No Input
Descriptions and pack data

## Changes Log
#VALUE!
For DNO and Ofgem to log changes that are made to the template
| Date | Author | Amendment (inc cell reference)
| 2024-08-29 | DNO | Removed rows 34 and 37 on Tab "SF6 and other IIGs" which requested data for "No. of SF6 assets replaced (per annum)" for EHV and 132kV as duplicate of row 28 and 41.

## Data Change Log
For DNO to record any changes that it has made to historical, and therefore, previously submitted, data.
| Date | Changes to historical (ie, previously submitted) values and reason (inc cell reference)
| 2025-06-02 | Electricity Distribution Losses Tab - Cell F2 and F4 - Updated Losses Data for FY 23/24 due to new data available.
| 2025-06-03 | Noise Pollution Tab - Cell E2 and E3 - Updated noise complaints and interventions for FY23/24 following data review.
| 2025-06-03 | BCF Tab - Cell H19 - Update Losses Data for FY 23/24 due to new data available.

## BCF
BCF Scope 1 and 2 | Category | Sub-Category | Total Baseline Reduction Target tCO2e RIIO-ED2 2028 | Unit | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028
| Operational Transport | Total |  | tCO2e | 7781.42 | 7552.4884 | 0 | 0 | 0
|  | Road |  | tCO2e | 7553.79 | 7440.5465
|  | Marine |  | tCO2e | 0 | 0
|  | Air |  | tCO2e | 227.63 | 111.9419
| Building Energy Usage | Total |  | tCO2e | 3907.5316 | 3883.8209 | 0 | 0 | 0
|  | Electricity |  | tCO2e | 626.3602 | 600.0515
|  | Other fuels |  | tCO2e | 0 | 0
|  | Substation electricity |  | tCO2e | 3255.4543 | 3248.0685
|  | Gas |  | tCO2e | 25.7171 | 35.7009
| Fuel Combustion | Total |  | tCO2e | 6916.46 | 2667.854 | 0 | 0 | 0
|  | Diesel (excluding transport) |  | tCO2e | 6915.62 | 2622.6221
|  | Diesel (embedded stations) |  | tCO2e | 0 | 0
|  | Other |  | tCO2e | 0.84 | 45.2319
| Fugitive Emissions | Total |  | tCO2e | 3540.6275 | 4383.079 | 0 | 0 | 0
|  | SF6 |  | tCO2e | 3540.6275 | 4383.079
|  | Other IIG |  | tCO2e | 0 | 0
| Total Scope 1 and 2 Emissions (Excluding Losses) |  |  | tCO2e | 22146.0391 | 18487.2423 | 0 | 0 | 0
| Electricity Distribution Losses |  |  | tCO2e | 317305.2267 | 324144.6805
| Total Scope 1 and 2 Emissions (Including Losses) |  |  | tCO2e | 339451.2658 | 342631.9229 | 0 | 0 | 0
Carbon Offsets | Category |  |  | Unit | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028
| Total Carbon offsets |  |  | tCO2e | 0 | 0
* Examples may be
Employee Commuting
Capital Goods
Purchased Goods and Services
Upstream Transportation and Distribution
Fuel And Energy Associated Activities (excluding network losses)
Fuel And Energy Associated Activities (directly related to network losses)
Operational Waste
Explanatory note
The link between BCF, SF6 and IIGs and Electricity Distribution Losses (using 2023/24 as an example) can be found below:
1) SF6: Link between cell H16 (in BCF) to cells H8, H20, H32 and H45 (in SF6 and other IIGs)
2) Other IIG: Link between cell H17 (in BCF) to cells H55, H56, H59, H60, H63, H64, H67 and H68 (in SF6 and other IIGs)
3) Electricity Distribution Losses: Link between cell H19 (in BCF) and cell F4 (in Electricity Distribution Losses)

## AER1 - BCF (hidden)
BCF Scope 1 and 2 | Category | Sub-Category | Total Baseline Reduction Target tCO2e RIIO-2 ED2 2028 | Unit | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028
| Business Transport | Total | 2 | tCO2e | 14
Road
Rail
Marine
Air
| Operational Transport | Total
Road
Marine
Air
| Building Energy Usage | Electricity
Other fuels
Substation electricity
Gas
Total
| Fuel Combustion | Diesel (excluding transport)
Diesel (embedded stations)
Other
Total
| Fugitive Emissions | Total Emissions
Other IIG Emissions
Total SF6 Emissions
Electricity Distribution Losses
Total Scope 1 and 2 Emissions (Excluding Losses)
Total Scope 1 and 2 Emissions (Including Losses)
BCF Scope 3 (where applicable) | Category |  |  |  | Unit
| Business Travel |  |  |  | tCO2e
Employee Commuting
Capital Goods
Purchased Goods and Services
Upstream Transportation and Distribution
Fuel And Energy Associated Activities (excluding network losses
Fuel And Energy Associated Activities (directly related to network losses)
Operational Waste
Total Carbon Offsets
Total (including offsets)

## AER2 SF6 Alternative (hidden)
Category | Sub-Category (where applicable) | Decarbonisation Target and Metric to End of RIIO ED-2 2028 | Unit of Measure | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028
SF6 Bank | No of Switch-related Assets with SF6 |  | No. of Switches
| Amount of SF6 from Switch-related Assets |  | kg
| No of non-switch related Assets with SF6 |  | #
| Amount of SF6 from non-switch related Assets |  | kg
| SF6 Alternatives |  | No. of Switches
SF6 Emissions | Leakage Rate |  | tCO2e
| Leakage rate as % percentage of bank |  | %
| Asset Replacement |  | #
| Interventions per Annum |  | #
Interventions also be defined for Guidance Notes
Note: to ask DNO - what should be a definition of an SF6 intervention?
Guidance to stress drivers of asset interventions
Delte Impact of Interventions?

## SF6 and other IIGs
Category | Voltage | Sub-Category (where applicable) | Decarbonisation Target & Metric to End of RIIO-ED2 (2028) | Unit of Measure | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028
SF6 Bank | LV | Total no. of assets containing SF6 |  | No. of Assets | 4 | 17
|  | Total amount of SF6 on network |  | kg | 10.9 | 3
|  | No. of SF6 assets replaced (per annum) |  | No. of Assets | 1 | 0
|  | No. of SF6 alternative assets (per annum) |  | No. of Assets | 0 | 0
|  | % of assets containing SF6 (% of bank) |  | % | 0.0454% | 0.01234%
|  | No. of SF6 assets installed (per annum) |  | No. of Assets | 6 | 2
SF6 Emissions | LV | Leakage (per annum) |  | kg | 0 | 0
|  | Leakage rate (% of bank) |  | % | 0% | 0%
|  | Interventions (per annum) |  | # | 0 | 0
|  | Impact of Interventions |  | kg | 0 | 0
Category | Voltage | Sub-Category (where applicable) | Decarbonisation Target & Metric to End of RIIO-ED2 (2028) | Unit of Measure | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028
SF6 Bank | HV | Total no. of assets containing SF6 |  | No. of Assets | 6371 | 6942
|  | Total amount of SF6 on network |  | kg | 6009.67 | 6477.64
|  | No. of SF6 assets replaced (per annum) |  | No. of Assets | 124 | 82
|  | No. of SF6 alternative assets (per annum) |  | No. of Assets | 0 | 13
|  | % of assets containing SF6 (% of bank) |  | % | 25.03% | 26.64%
|  | No. of SF6 assets installed (per annum) |  | No. of Assets | 63 | 109
SF6 Emissions | HV | Leakage (per annum) |  | kg | 0.4 | 0.4
|  | Leakage rate (% of bank) |  | % | 0.006656% | 0.006175%
|  | Interventions (per annum) |  | # | 0 | 0
|  | Impact of Interventions |  | kg | 0 | 0
Category | Voltage | Sub-Category (where applicable) | Decarbonisation Target & Metric to End of RIIO-ED2 (2028) | Unit of Measure | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028
SF6 Bank | EHV | Total no. of assets containing SF6 |  | No. of Assets | 1604 | 1941
|  | Total amount of SF6 on network |  | kg | 8771.89 | 8641.58
|  | No. of SF6 assets replaced (per annum) |  | No. of Assets | 7 | 3
|  | No. of SF6 alternative assets (per annum) |  | No. of Assets | 0 | 0
|  | % of assets containing SF6 (% of bank) |  | % | 36.53% | 35.54%
|  | No. of SF6 assets installed (per annum) |  | No. of Assets | 21 | 6
SF6 Emissions | EHV | Leakage (per annum) |  | kg | 108.405 | 137.16
|  | Leakage rate (% of bank) |  | % | 1.236% | 1.587%
|  | Interventions (per annum) |  | # | 1 | 0
|  | Impact of Interventions |  | kg | 2.9 | 0
Category | Voltage | Sub-Category (where applicable) | Decarbonisation Target & Metric to End of RIIO-ED2 (2028) | Unit of Measure | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028
SF6 Bank | 132kV | Total no. of assets containing SF6 |  | No. of Assets | 496 | 511
|  | Total amount of SF6 on network |  | kg | 9218.31 | 9192.12
|  | No. of SF6 assets replaced (per annum) |  | No. of Assets | 0 | 5
|  | No. of SF6 alternative assets (per annum) |  | No. of Assets | 0 | 1
|  | % of assets containing SF6 (% of bank) |  | % | 38.39% | 37.81%
|  | No. of SF6 assets installed (per annum) |  | No. of Assets | 2 | 4
SF6 Emissions | 132kV | Leakage (per annum) |  | kg | 41.86 | 48.95
|  | Leakage rate (% of bank) |  | % | 0.4541% | 0.5325%
|  | Interventions (per annum) |  | # | 0 | 2
|  | Impact of Interventions |  | kg | 0 | 40
Category | Voltage | Sub-Category (where applicable) | Unit of Measure |  | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028
IIG Name [DO NOT DELETE IF NOT USED] | LV | No of Assets with IIG | # |  | 0 | 0
|  | Amount of IIG | kg |  | 0 | 0
|  | Global Warming Potential of IIG | CO2 Comparison Constant |  | 0 | 0
|  | Leakage | kg |  | 0 | 0
IIG Name [DO NOT DELETE IF NOT USED] | HV | No of Assets with IIG | # |  | 0 | 0
|  | Amount of IIG | kg |  | 0 | 0
|  | Global Warming Potential of IIG | CO2 Comparison Constant |  | 0 | 0
|  | Leakage | kg |  | 0 | 0
IIG Name [DO NOT DELETE IF NOT USED] | EHV | No of Assets with IIG | # |  | 0 | 0
|  | Amount of IIG | kg |  | 0 | 0
|  | Global Warming Potential of IIG | CO2 Comparison Constant |  | 0 | 0
|  | Leakage | kg |  | 0 | 0
G3 (C4-FN) | 132kV | No of Assets with IIG | # |  | 0 | 1
|  | Amount of IIG | kg |  | 0 | 5.5
|  | Global Warming Potential of IIG | CO2 Comparison Constant |  | 0 | 419
|  | Leakage | kg |  | 0 | 0
Note on I7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Figure reported in ‘number of SF6 assets installed per annum’ does not directly correlate with ‘total number of assets containing SF6’ reported in 23/24 due to a data cleanse in our asset management system.
Note on I19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Figure reported in ‘number of SF6 assets installed per annum’ does not directly correlate with ‘total number of assets containing SF6’ reported in 23/24 due to a data cleanse in our asset management system.
Note on I31: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Figure reported in ‘number of SF6 assets installed per annum’ does not directly correlate with ‘total number of assets containing SF6’ reported in 23/24 due to a data cleanse in our asset management system.
Note on I43: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Figure reported in ‘number of SF6 assets installed per annum’ does not directly correlate with ‘total number of assets containing SF6’ reported in 23/24 due to a data cleanse in our asset management system.
Note on I65: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: No DESNZ conversion factor available for G3 (C4-FN) so factor taken from manufacturers safety data sheet.

## Electricity Distribution Losses
Electricity Distribution Losses | Target RIIO2-ED2 2028 | Unit | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028
Annual Losses |  | GWh | 1532.3256 | 1565.5382
Share of Total Electricity Distributed |  | % | 4.99 | 4.99
Carbon Equivalent | 264417.2052 | tCO2e | 317305.2267 | 324144.6805
Annual Interventions completed |  | # | 3251.137 | 2391.5219
Impact of Interventions (per annum) |  | MWh | 3078.3129 | 8833.0419
Impact of Interventions (per annum) |  | tCO2e | 637.4394 | 1828.8813
Interventions
Description |  | Unit | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028 | Unit | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028 | Unit | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028
Minimum sizing of cables |  | # | 2.137 | 20.5219 |  |  |  | MWh | 20.4712 | 236.9791 |  |  |  | tCO2e | 4.2391 | 49.0665
Ecodesign Tier 2 Low Loss compliant transformers |  | # | 4 | 6 |  |  |  | MWh | 149.7 | 423.4416 |  |  |  | tCO2e | 30.999 | 87.6736
Accelerated Replacement of Historical High Loss Transformers |  | # | 496 | 1045 |  |  |  | MWh | 587.76 | 2413.845 |  |  |  | tCO2e | 121.71 | 499.7866
Substation Efficiencies |  | # | 0 | 0 |  |  |  | MWh | 0 | 0 |  |  |  | tCO2e | 0 | 0
Conveyance innaccuracies |  | # | 2719 | 1269 |  |  |  | MWh | 2291.8817 | 5653.3262 |  |  |  | tCO2e | 474.5898 | 1170.5212
Minimum sizing of transformers |  | # | 30 | 51 |  |  |  | MWh | 28.5 | 105.45 |  |  |  | tCO2e | 5.9016 | 21.8334
[DO NOT DELETE IF NOT USED] |  | # | [5 empty] | MWh | [5 empty] | tCO2e
[DO NOT DELETE IF NOT USED] |  | # | [5 empty] | MWh | [5 empty] | tCO2e

## Supply Chain Management
Supply Chain Management | Unit | Target by end of RIIO-2 ED2 2028 | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028
Percentage of suppliers meeting licensees supplier code | Cumulative % by Annual Spend | 80% | 37.47% | 39%

## Resource Use and Waste
Waste Destination - Non Hazardous/Non Special | Unit | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028
Total Waste Produced directly by Licencee | Tonnes | 3211.41 | 4278.7664
% Reused/Recycled | % | 71.9892 | 76.384
% Energy from Waste | % | 23.0948 | 22.067
% Sent to Landfill | % | 4.4775 | 1.3106
% Other | % | 0.43844 | 0.23839
% of Waste Diverted from Landfill (excluding compliance waste) | % | 95.5225 | 98.6838
Waste Destination - Hazardous/Special | Unit | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028
Total Waste Produced directly by Licencee | Tonnes | 1147.9152 | 1636.7405
% Reused/Recycled | % | 99.5592 | 87.0227
% Energy from Waste | % | 0 | 10.0794
% Sent to Landfill | % | 0 | 0.014663
% Other | % | 0.4408 | 2.8838
% of Waste Diverted from Landfill (excluding compliance waste) | % | 100 | 99.9853

## Visual Amenity
Visual Amenity Scheme | Units | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028
Removal of overhead lines (due to a visual amenity scheme) | km | 0
No. of Amenity Schemes | # | 0
Other (if applicable)

## Noise Pollution
Noise | Units | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028
No of Complaints Received | # | 7 | 10
No of Complaints Leading to Intervention | # | 1 | 1

## PCB
PCBs - Pole Mounted Transformers | Units | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028
No. of assets PCB contaminated or statistically likely to be contaminated (i.e. no. remaining on PCB register held with environmental regulator) | # | 15970 | 5148
No. of assets PCB negative or statistically likely to be negative (i.e. no. that can be removed from PCB register held with environmental regulator) | # | 2873 | 11366
No. of asset replacements due to known or statistically likely PCB contamination | # | 714 | 1636
No. of assets tested to confirm levels of PCB contamination | # | 714 | 1636
PCBs - Ground Mounted Transformers | Units | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028
No. of assets PCB contaminated or suspected to be contaminated (i.e. no. remaining on PCB register held with environmental regulator) | # | 8566 | 1550
No. of assets PCB negative (i.e. no. that can be removed from PCB register held with environmental regulator) | # | 6882 | 7016
No. of asset replacements due to known or suspected PCB contamination | # | 0 | 0
No. of assets remediated due to known or suspected PCB contamination | # | 7 | 394
No. of assets tested to confirm levels of PCB contamination | # | 9388 | 4553
PCBs - Other assets | Units | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028
No. of assets PCB contaminated or suspected to be contaminated (i.e. no. remaining on PCB register held with environmental regulator) | # | 575 | 494
No. of assets PCB negative (i.e. no. that can be removed from PCB register held with environmental regulator) | # | 0 | 81
No. of asset replacements due to known or suspected PCB contamination | # | 0 | 0
No. of assets remediated due to known or suspected PCB contamination | # | 0 | 0
No. of assets tested to confirm levels of PCB contamination | # | 0 | 0

## FFC
Fluid Filled Cables Oil Loss | Sub Category | Unit | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028
| FFC in service | km | 1063.31 | 1063.03
| Oil in Service | Litres | 654349.76 | 654119.8
| Cable Oil Top Up | Litres | 10758 | 25817.2
| Fluid Used to Top Up Cables as a percentage of volume in service | % | 1.6441 | 3.9469
| Removal of FFC | km | 0 | 3
| Leak Reduction | Litres | 12369 | 12369
| Oil Recovered | Litres | 0 | 0