## Guidance
Title
Flexibility Service Pre-Qualification Standard Questionnaire
Introduction
This document is SSEN's new Pre-qualification Questionnaire standard template.
It contains both Commercial and Technical qualification criteria, standardised across all UK Distribution Network Operators (DNOs) with the exception of a few agreed deviations that are applicable to SSEN. These are identified in the "Standard- Technical" tab.
Supporting documentation
Please refer to SSEN's DPS Questionnaire Evaluation Guidance & Methodology document which sets out the method to populate these templates and the method used to evaluate potential providers for inclusion on the DPS Select List.
The document is titled "2024 SSEN Flexibility Services DPS Evaluation Criteria" and it can be found in our document library under "Supporting Documentation" via the link provided below:
https://www.ssen.co.uk/about-ssen/dso/flexibility/flexibility-services/flexibility-services-document-library/
Other Useful links
This template is aligned with the Energy Network Association's (ENA's) Open Network Flexibility Service Pre-qulaification Standard Template which was published in March 2024.
Links to the ENA's supporting documentation are provided below:
https://www.energynetworks.org/publications/ena-on-flexibility-service-pre-qualification-standard-template-(mar-2024)
https://www.energynetworks.org/publications/ena-on-pre-qualification-standardisation-report-(mar-2024)

## STANDARD - COMMERCIAL
| Area | Field Name | Commercial Qualification Questions | Allowable Responses | Pass Criteria | Description | Potential Provider Response
| Reference | COMM_REF_ORG1 | Assigned Reference for this Organisation, if known | free text | completed | If the Organisation has previously been submitted and assigned a reference, this can be detailed here
Company Information | Company Information | COMM_CI_CNAME | Registered or legal name of the contracting party | free text | completed | Full registered/legal name of the party wishing to enter into the flexibility contract
|  | COMM_CI_REGNO | Company Registered Number [Or Charity/Trust] | free text | completed | Registered No. as shown on companies house. Charity or Trust Registration No. is also acceptable
|  | COMM_CI_REGA1 | Registered address 1 | free text | completed | Registered Address line 1
|  | COMM_CI_REGA2 | Registered address 2 | free text | completed | Registered Address line 2
|  | COMM_CI_REGA3 | Registered address 3 | free text, blank | completed, blank | Registered Address line 3
|  | COMM_CI_POSTC | Registered address postcode | free text | completed | Registered Address Postcode
|  | COMM_CI_FIRST | Key contact First Name | free text | completed | First name of main contact in respect of this submission and any subsequent contract
|  | COMM_CI_CLAST | Key contact Last Name | free text | completed | Last name of main contact in respect of this submission and any subsequent contract
|  | COMM_CI_EMAIL | Key contact email | free text | completed | email address of main contact in respect of this submission and any subsequent contract
|  | COMM_CI_TELNO | Key contact number | free text | completed | Contact telephone number of main contact in respect of this submission and any subsequent contract
|  | COMM_CI_WEBSI | Organisation website | free text | completed | Web address for contracting party
|  | COMM_CI_RELAT | Legal relationship with flexibility asset/s | Owner, Operator, Aggregator | one code completed | declare relationship to asset/s, only select one
|  | COMM_CI_VATNO | VAT Registration Number | free text | completed | VRN of the contracting party
Compliance | Terms and Conditions | COMM_TC_ACCEP | Confirm; You have read the applicable ENA_Standard Flexibility Services Agreement and understand it will be a requirement to accept this Agreement in order to form any contract for the delivery of flexibility services | Y, N | Y | Contracting party must confirm their acceptance of the ENA_Standard Flexibility Agreement applicable to the DNO they are pre-qualifying for
|  | COMM_TC_DECLA | Do you declare that you have the authority to submit this application and by confirming you declare that to the best of your knowledge, the information in this form is accurate? | Y, N | Y | The individual completing this submission must have the authority of the contracting party to both accept the Agreement and provide the information listed in this application
| Due Diligence | COMM_DD_FLEXA | Is the contracting party a member of Flex Assure Code of Conduct? | Y, N | Y, N | Being a member of flex assure is not required in order to pass commercial qualification, if the contracting party is member it will speed the required due diligence checks
|  | COMM_DD_ACHIL | Contracting parties Achilles UVDB Registered No. if applicable | free text, blank | completed, blank | Being Achilles UVDB (Utilities Vendor Database) registered is not required in order to pass commercial qualification, if the contracting party is member it will speed the required due diligence and credit checks
|  | COMM_DD_CHECK | Where Achilles UVDB registration has not been advised, you understand that the DNO may access the contracting Parties most recent audited financial accounts via Companies House for the purpose of credit checks. | Y, N, NA | Y, NA | Please confirm you understand that the DNO may perform credit checks as part of their due diligence checks relating to this application
|  | COMM_DD_RECEI | Is this contracting party currently, or has it ever been in receivership? | Y, N | N | This response will be assessed by the DNO as part of their due diligence checks
|  | COMM_DD_ADMIN | Is this contracting party currently, or has it ever been in administration? | Y, N | N | This response will be assessed by the DNO as part of their due diligence checks
|  | COMM_DD_LIQUI | Is this contracting party currently, or has it ever been in liquidation? | Y, N | N | This response will be assessed by the DNO as part of their due diligence checks
|  | COMM_DD_DEBTS | Is this contracting party currently, or has it ever been unable to pay its debts as they fall due (within the meaning of Section 268 Insolvency Act 1986)? | Y, N | N | This response will be assessed by the DNO as part of their due diligence checks
|  | COMM_DD_WINDI | Is this contracting party currently, or has it ever had, in the past 3 years, any petitions for winding up (other than vexatious petitions)? | Y, N | N | This response will be assessed by the DNO as part of their due diligence checks
|  | COMM_DD_BANKR | Is this contracting party currently, or has it ever had any petitions for bankruptcy (or their equivalent in the country in which the Applicant is incorporated) within the last three years? | Y, N | N | This response will be assessed by the DNO as part of their due diligence checks
|  | COMM_DD_OFFEN | Is this contracting party currently, or has it ever been convicted of any of the offences or has any discretional exclusion occurred, as contained in Regulation 80 of the Utilities Contract Regulations 2016 (UCR), and listed in Regulation 57 (1) and 57 (8) of the Public Contracts Regulations 2015 (PCR)? [IF IN SCOTLAND, Is this contracting party currently, or has it ever been convicted of any of the offences or has any discretional exclusion occurred, as contained in Regulation 78 of the Utilities Contract (Scotland) Regulations 2016 (UC(S)R), and listed in Regulation 58 of the Public Contracts (Scotland) Regulations 2015 (PC(S)R)?] | Y, N | N | This response will be assessed by the DNO as part of their due diligence checks
|  | COMM_DD_TERMI | Is this contracting party currently, or has it ever had, in the past 3 years, any similar contracts terminated prematurely and/or had damages claims or other comparable sanctions brought against the contracting party for any significant or persistent deficiencies in performance of a substantive requirement of the contract? | Y, N | N | This response will be assessed by the DNO as part of their due diligence checks
|  | COMM_DD_LITIG | Has the contracting party been subject to any material non-employment related litigation (pending, threatened or determined) or other legal proceedings against the contracting party within the last three years that may be relevant to your ability to deliver services. | Y, N | N | This response will be assessed by the DNO as part of their due diligence checks
| Insurance | COMM_IN_EMPLO | Does the contracting party have or commit to have Employer’s liability insurance with a minimum limit of £5m | Y, N | Y | Confirm you meet the minimum insurance level required for Employers Liability
|  | COMM_IN_PUBLI | Does the contracting party have or commit to have Public liability insurance with a minimum limit of £5m | Y, N | Y | Confirm you meet the minimum insurance level required for Public Liability
|  | COMM_IN_COPIE | Will the contracting party provide copies of such insurances upon request | Y, N | Y | Confirm you will be able to provide copies of insurances if requested by the DNO

## STANDARD - TECHNICAL
Area | Field Name | Technical Qualification Questions | Allowable Responses | Pass criteria | Description | Potential Provider Response
Reference | TECH_REF_DER1 | Assigned Reference for this DER, if known | Free text, NA | Completed | If the DER has previously been submitted and assigned a reference, this can be detailed here
Connection | TECH_CN_STATUS | DER Connection status | Archived, Energised, Awaiting Energisation, Planned, Speculative | Energised, Awaiting Energisation, Planned, Speculative | One eligible response per DER must be provided confirm the status of the assets connection to the distribution network; Energised means the DER is already connected to the network and is readily available for flexibility, Awaiting Energisation means the connection application and all installation work is complete but the connection is pending energisation therefore the DER is not yet available for flexibility, Planned means a connection application is in progress but no installation work has started and there is no known date for energisation therefore the DER is not yet available for flexibility, Speculative means that the DER is still being sought through recruitment and once recruited will form an aggregated group therefore the DER is not yet available for flexibility.
| TECH_CN_AWAI1 | If awaiting energisation, firm date of energisation | DD/MM/YY, NA | Completed | If the DER is Awaiting Energisation the firm date of energisation must be provided, if energised, planned or speculative please respond NA
| TECH_CN_AWAI2 | If awaiting energisation, connection reference number | Free text, NA | Completed | If the DER is Awaiting Energisation the connection reference number must be provided, if energised, planned or speculative please respond NA
| TECH_CN_PLAN1 | If planned, connection voltage level | 0.23, 0.40, 0.46, 3, 3.3, 6, 6.6, 7, 11, 13, 20, 22, 25, 33, 66, 132, NA | Completed | If the DER is Planned the voltage level at the point at which the DER is connecting onto the distribution network must be provided, if Energised, Awaiting Energisation or Speculative please respond NA
| TECH_CN_PLAN2 | If planned, connection offer status | Not yet applied, applied awaiting offer, offer issued, offer accepted | Not yet applied, applied awaiting offer, offer issued, offer accepted | If the DER is Planned the status of the connection application must be stated, if Energised, Awaiting Energisation or Speculative please respond NA
| TECH_CN_PLAN3 | If planned, connection reference number | Free text, NA | Completed | If the DER is Planned the status of the connection application must be stated, if Energised, Awaiting Energisation or Speculative please respond NA
| TECH_CN_PLAN4 | If planned, what is the target delivery date? | DD/MM/YY, NA | Completed | If the DER is Planned, the target for delivery/energisation must be stated, if Energised, Awaiting Energisation or Speculative please respond NA
| TECH_CN_SPEC1 | If speculative, service readiness date | DD/MM/YY, NA | Completed | If the DER is Speculative, the anticipated dated the DER or aggregated group or DER will be available to deliver flexibility. If Energised, Awaiting Energisation or Planned please respond NA
| TECH_CN_SPEC2 | If speculative, recruitment status | ASSET CONTRACTED, ASSET KNOWN, ASSET UNKNOWN, NA | Completed | If the DER is Speculative, the status of recruitment must be stated. If Energised, Awaiting Energisation or Planned please respond NA
| TECH_CN_SPEC3 | CMZ Location, if known | Free text, NA | Completed | If known, the DNO Constraint Management Zone the DER or if speculative, the Aggregated Group of DER, are sited within. Speculative must complete this field with a valid DER
Site/Location | TECH_LN_POSTC | If Energised, Awaiting Energisation, Planned; Postcode | free text | Completed | The full post code of the site where the DER is located*
| TECH_LN_IMPAN | If Energised, Awaiting Energisation, Planned; Import MPAN (Meter Point Administration Number) If known | free text (13 Characters), NA | Completed | The unique 13 digit identification of the meter associated with the DER's energy import from the network**
| TECH_LN_EMPAN | If Energised, Awaiting Energisation, Planned; Export MPAN (Meter Point Administration Number) If known | free text (13 Characters), NA | Completed | The unique 13 digit identification of the meter associated with the DER's energy export to the network**
| TECH_LN_MSID1 | If Energised, Awaiting Energisation, Planned; MSID (where applicable) | free text, NA | Completed | If applicable, the BSC unique identifier of the meter associated with the DER
| TECH_LN_ANAME | DER [If Speculative, then Aggregated Group] Name/Ref | free text | Completed | The human readable name the contracting party wishes to name the DER
Technology | TECH_TG_GROU1 | Asset Scale | DOMESTIC, I&C | Completed | Identifies whether the DER is connected at a site that is domestic, or industrial and commercial.
| TECH_TG_GROU2 | Metering Point | POINT OF CONNECTION, ASSET LEVEL | Completed | Describes where the DER is metered. 'Asset Level' means behind the meter and 'Point of Connection' means the connection at the boundary to the network.
| TECH_TG_GROU3 | DER Type; Generation &/OR Storage | Y, N | Y, N | Identifies if the purpose of the DER is for generation and/storage
| TECH_TG_GROU4 | DER Type; Demand | Y, N | Y, N | Identifies if the purpose of the DER is for demand flexibility
| TECH_TG_GSCL1 | If Generation &/OR Storage, Energy Conversion Type | Battery, Compressed air system, Engine (combustion / reciprocating), Gas turbine (OCGT), Geothermal power plant, Hydro power system, Liquid air system, Offshore wind turbines, Onshore wind turbines, Photovoltaic, Steam turbine (thermal power plant), Steam-gas turbine (CCGT), Tidal lagoons, Tidal stream devices, Wave devices | Completed | Complete only if the DER is for generation and/storage
| TECH_TG_GSCL2 | If Generation &/OR Storage, Energy Source | Advanced Fuel (produced via gasification or pyrolysis of biofuel or waste), Biofuel - Biogas from anaerobic digestion (excluding landfill & sewage), Biofuel - Landfill gas, Biofuel – Other, Biofuel - Sewage gas, Biomass, Fossil - Brown coal/lignite, Fossil - Coal gas, Fossil – Gas, Fossil - Hard coal, Fossil – Oil, Fossil - Oil shale, Fossil – Other, Fossil – Peat, Geothermal, Hydrogen, Nuclear, Solar, Waste, Water (flowing water or head of water), Wind, Stored Energy (all stored energy irrespective of the original energy source) | Completed | Complete only if the DER is for generation and/storage
| TECH_TG_DDCLS | If Demand, Technology Type | Air source heat pump, Ground source heat pump, Water source heat pump, Hybrid Heat pump, EV Charger DSR, EV Charger V2G, On site Battery, Flexible Site Demand | Completed | Complete only if the DER is for demand flexibility
DER Parameters | TECH_PS_INCAP | DER [If Speculative, then Aggregated Group] Installed capacity (MW) | free text | Completed | The full-load output of the DER
| TECH_PS_FCDTU | DER [If Speculative, then Aggregated Group] Flexible Active Capacity - Demand Turn-up (MW) | free text | Completed | The capacity, in MW, of your DER to increase its generation output. If Zero, please respond '0'
| TECH_PS_FCDTD | DER [If Speculative, then Aggregated Group] Flexible Active Capacity - Demand Turn-down (MW) | free text | Completed | The capacity, in MW, of your DER to reduce its generation output. If Zero, please respond '0'
| TECH_PS_FCGTU | DER [If Speculative, then Aggregated Group] Flexible Active Capacity - Generation Turn-up (MW) | free text | Completed | The capacity, in MW, of your DER to increase its demand on the network. If Zero, please respond '0'
| TECH_PS_FCGTD | DER [If Speculative, then Aggregated Group] Flexible Active Capacity - Generation Turn-down (MW) | free text | Completed | The capacity, in MW, of your DER to reduce its demand on the network. If Zero, please respond '0'
| TECH_PS_REACE | DER [If Speculative, then Aggregated Group] Reactive Export Capacity - Generation Turn-up (MW) | free text | Completed | The capacity, in MVar, that an DER has to generate reactive power: providing an inductive load and lagging effect on current with respect to the network voltage. If Zero, please respond '0'
| TECH_PS_REACE | DER [If Speculative, then Aggregated Group] Reactive Import Capacity - Generation Turn-down (MW) | free text | Completed | The capacity, in MVar, that an DER has to absorb reactive power: providing a capacitive load and leading effect on current with respect to the network voltage. If Zero, please respond '0'
| TECH_PF_MINOD | DER [If Speculative, then Aggregated Group] Min Operating Duration (HH:MM) | HH:MM | HH:MM | Minimum amount of time the DER is able to provide a flexibility response. Where a DER is able to run continuously beyond 24hrs, respond 'Unlimited'
| TECH_PF_MAXOD | DER [If Speculative, then Aggregated Group] Max Operating Duration (HH:MM) | HH:MM, Unlimited | HH:MM | Maximum amount of time the DER is able to provide a flexibility response. Where a DER is able to run continuously beyond 24hrs, respond 'Unlimited'
| TECH_PS_RESPO | DER [If Speculative, then Aggregated Group] Response Time (minutes) | HH:MM | HH:MM | The minimum time required for the DER to respond to a utilisation instruction.
| TECH_PS_RECOV | DER [If Speculative, then Aggregated Group] Recovery Time | HH:MM | HH:MM | The time required by the DER [If Speculative, then Aggregated Group] to recover from one instruction until the next instruction can be actioned.
Metering | TECH_PS_METER | Metering Granularity (Second by Second, Minute by Minute or Half Hourly) | SS, MIN, HH | MIN, HH | The metering frequency available for the DER, or if speculative then for the Aggregated Group. Entry should be relevant to the service applicable, for example many DNOs do not accept second x second metering.
Agreed deviations from Standard Technical questions.
* Please do not provide full poscodes for domestic assets. SSEN does not collect this data for domestic assets.
** Please do not provide MPANs for domestic assets. SSEN does not collect this data for domestic assets.