## Slide 1: Flexibility Services 9th May 2024
Webinar

## Slide 2: agenda
11:00 – 11:20 Welcome, Introduction and Flexibility Overview – Catherine Winning
11:20 – 11:35 Pre-Qualification, Mini-Competition and Bidding Window – Ronke Ajadi
11:35 – 11:45 Upcoming Tenders and Market Platforms – Iain Dallas
11:45 – 12:00 Q&A and Slido
Flexible Services Webinar
Notes: Shirley

## Slide 3: Flexibility Overview
Catherine Winning, Flexibility Markets Manager
Flexible Services Webinar

## Slide 4
Notes: Wide selection of stakeholders in the room and online
Some of you will be familiar with us as a business but others may not
Diverse network with varied topology and different characteristics – and weather (Storm Babet)
Whilst we are different North and South in many ways, as SSEN we share an ambition to increase the utilization of flexibility to deliver efficient and effective network and bring about the considerable benefits the future energy network offers

## Slide 5
our role as a distribution system
Operator (DSO)
A SUCCESSFUL TRANSITION TO NET ZERO REQUIRES
Greater utilisation of flexible energy resources, across electricity, heat and transport.
A clear understanding of the value flexible resources can provide at any one time; and
Greater real-time coordination in energy system operation to ensure that flexible resources can be ‘optimised’ across the energy system as a whole.
Our DSO Toolkit
These services are being provided through functions within the Distribution Network Operators called Distribution System Operators (DSOs), which have three core areas:
Provide the capacity on the network to deliver net zero by 2050.
Ensure that we’re making appropriate use of flexibility services to deliver efficient whole-system solutions at the optimum time.
Strategic Investment
Flexibility services
Access products
Connecting customers now, but with some level of compromise.
Complemented by flexibility services or strategic investment to meet customers full needs as soon as possible.
Mid-term solutions that enable us to use our existing network efficiently
Acts as an investment signal for Strategic Investment
Provides an interim solution if there are long lead times for Strategic Investment

## Slide 6: BENEFITS OF FLEXIBILITY
Traditional solutions to increased network capacity such as building network reinforcement can be deferred to reduce costs.
Facilitates quicker connections to congested parts of the network ahead of increasing network capacity.
Helps maintain network supply during times of planned and unplanned outages.
Flexible Services Webinar

## Slide 7: Overview of End-to-end Process: Procurement
Flexible Services Webinar
Currently occur in DPS Delta.
Migrating to Electron Connect market platform in Summer 2024.
Currently using Microsoft Excel.
Migrating to Electron Connect market platform in Summer 2024.
DPS Registration
Pre-Qualification
Mini-Competition
Asset Registration
Bidding

## Slide 8: Overview of End-to-end Process: Dispatch
Flexible Services Webinar
Integration with Flexible power must be in place for short term bidding before bidding can take place.
Availability & Utilisation instructions issued in line with product type and service terms (Manual or Flexible Power)
Flexible Power Integration
Service Go Live
Mini-Competition
Dispatch
Analysis and Payments

## Slide 9: Standard services overview
Products | Availability Refinement Timescale | Utilisation Instruction Time Scale | Payment
Scheduled Utilisation (Sustain) | Not Applicable | Month Ahead | Utilisation
Operational Utilisation (Restore) | Not Applicable | 2 minutes | Utilisation
VAOU – WA: Variable Availability + Operational Utilisation - Week Ahead (Secure) | Month Ahead | Week Ahead | Availability + Utilisation
VAOU – DA: Variable Availability + Operational Utilisation – Day Ahead (Dynamic) | Week ahead | Day Ahead | Availability + Utilisation
SAOU – DA: Scheduled Availability + Operational Utilisation - Day Ahead (New Product) | Availability Windows confirmed at trade | Day Ahead | Availability + Utilisation
Flexible Services Webinar

## Slide 10: Pre-qualification, Mini-Competition and open window
Ronke Ajadi, Flexibility Agreements Manager

## Slide 11: Pre-qualification questionnaire
1. Register on Delta DPS
2. Follow the DPS links* for our Licence area(s) to register interest and view the documents on the DPS
3. Complete and submit the PQQ document
4. Recommended deadline: Submit by 10th May.
5. SSEN will assess the submission within 10 working days
6. If successful, you will be added to the DPS Select List.
7. If unsuccessful, SSEN will provide feedback and you’re free to resubmit if you would like to.
*SEPD: https://www.delta-esourcing.com/tenders/UK-UK-Reading:-Electricity-distribution./786BVNRTZ2
*SHEPD: https://www.delta-esourcing.com/tenders/UK-UK-Perth:-Electricity-distribution./6F573T5MCY
*SEPD: https://www.delta-esourcing.com/tenders/UK-UK-Reading:-Electricity-distribution./786BVNRTZ2
*SHEPD: https://www.delta-esourcing.com/tenders/UK-UK-Perth:-Electricity-distribution./6F573T5MCY
Flexible Services Webinar
Register on Delta DPS
Register per Region
Complete & Submit PQQ
Recommended deadline: 10th May
Assessment
If Successful (DPS Select List)
If Unsuccessful (May Resubmit)

## Slide 12: Mini-competition
The mini-competition is how Providers move towards a signed overarching agreement to participate in bidding windows.
The May mini-competition round will open on 20th May.
To participate in the mini-competition you must be on the DPS Select list before the mini-competition opens.
All potential providers on the DPS Select List will be invited to respond.
This is to be awarded an overarching agreement, so that you can take part in future bidding rounds (call offs).
If you already have an overarching agreement, you do need to respond to this mini-competition.
Flexible Services Webinar

## Slide 13: BIDDING WINDOWS
Bidding windows or “call off tender”, allow Providers with overarching agreements to respond with “call off bids” to “tender for services” issued by us.
Bidding windows are run for specific Zones with service windows, required capacities and seasons specified in the tender for services.
Under this approach, provision of capacity and pricing information is a process that happens separately, during the ‘bidding window’.
We will introduce short-term bidding rounds from late Summer 2024 using the flexibility market platform.
Flexible Services Webinar

## Slide 14: New PQQ, MINI-COMPETITION & BIDDING WINDOW TIMELINES
New pre-qualification questionnaire launches
April | May | June | July | Aug | Sep | Oct | Nov | Dec
PQQ
Mini-Competition
Bidding Windows
Bidding window
(May)
Short term bidding
Short term bidding
Short
term bidding
Short
term bidding
Short
term bidding
Mini-
competition
Mini-competition
Flexible Services Webinar
Long term bidding
Notes: Once this has occurred, all providers on the DPS select list will be contacted to agree to our overarching flexibility services agreement. This stage will open on the 1st November and will be run as a ‘mini-competition’ on the DPS. All that is expected of providers at this stage is that they respond to this mini-competition, stating that they will agree to the service agreement. There will also be an opportunity to provide feedback on the flexibility services agreement at this stage, however since we are aligned with the ENA open networks programmes standard flexibility services agreement, we do not expect significant changes or alterations to our contractual terms to be necessary. The mini-competition will close on the 13th November, so make sure you respond by this date. Once closed, all providers who have responded to the mini-competition will be awarded overarching agreements. These must be formally signed by the 5th January in order for providers to participate in the upcoming tenders. Please note that contract signature is the point at which you will opt in or out to our emergency flex service that Catherine described earlier.

## Slide 15
Upcoming tenders
Iain Dallas, Flexibility Markets Analyst

## Slide 16: Bidding Opportunities
We’re going to procure two different services:
  Variable Availability + Operational Utilisation – Week Ahead (VAOU – WA)
  Scheduled Availability + Operational Utilisation – Day Ahead (SAOU – DA)
  2. VAOU - WA
  The bidding windows are expected to be in May 2024 and August 2024.
  The Call Off contracts will last for 1 year.
  Availability is agreed at month ahead & Utilisation instructions are issued at Week Ahead.
  3. SAOU - WA
  The first short-term bidding window for SAOU-DA will be held in August.
  The Call Off tender will take place at month ahead.
  The Call Off contracts for SAOU-DA will be a month in length.
  It’s a requirement of SAOU-DA that Providers must integrate with Flexible Power.
  Availability will be agreed at Call Off acceptance & Utilisation will be instructed at Day Ahead.
  4. Call off contracts will be awarded to the best priced bids.
Flexible Services Webinar

## Slide 17: May 2024: vaou-wa (SEPD)
CMZ | Licence Area | Capacity Required (MW) | Service Window | Season | Year of Service | Relevant Months | Availability Forecast (Days)
Ealing (E) | SEPD | 21 | 16:00 - 20:00 | Winter | 24/25 | Dec 2024, Jan 2025, Feb 2025 | 68
Southfield Road | SEPD | 10 | 16:00-20:00 | Winter | 24/25 | Dec 2024, Jan 2025, Feb 2025 | 68
Boston Manor Road | SEPD | 6 | 12:00-16:00 | Summer | 24/25 | May 2024, Jun 2024, Jul 2024, Aug 2024 | 93
Canal Bank | SEPD | 10 | 12:00-16:00 | Summer | 24/25 | May 2024, Jun 2024, Jul 2024, Aug 2024 | 93
Wesley Avenue | SEPD | 1 | 12:00-16:00 | Winter | 24/25 | Dec 2024, Jan 2025, Feb 2025 | 68
Hayes | SEPD | 11 | 12:00-16:00 | Winter | 24/25 | Dec 2024, Jan 2025, Feb 2025 | 68
Vicarage Farm Road | SEPD | 12 | 16:00-20:00 | Winter | 24/25 | Dec 2024, Jan 2025, Feb 2025 | 68
North Hyde 11kV | SEPD | 3 | 12:00-16:00 | Winter | 24/25 | Dec 2024, Jan 2025, Feb 2025 | 68
The Green | SEPD | 3 | 16:00-20:00 | Winter | 24/25 | Dec 2024, Jan 2025, Feb 2025 | 68
Bath Road East | SEPD | 1 | 16:00-20:00 | Winter | 24/25 | Dec 2024, Jan 2025, Feb 2025 | 68
Northolt | SEPD | 3 | 16:00-20:00 | Winter | 24/25 | Dec 2024, Jan 2025, Feb 2025 | 68
Yiewsley | SEPD | 1 | 16:00-20:00 | Winter | 24/25 | Dec 2024, Jan 2025, Feb 2025 | 68
Causeway | SEPD | 1 | 12:00-16:00 | Summer | 24/25 | May 2024, Jun 2024, Jul 2024, Aug 2024 | 93
Causeway | SEPD | 1 | 12:00-16:00 | Winter | 24/25 | Dec 2024, Jan 2025, Feb 2025 | 68
Lytchett | SEPD | 5.34 | 17:00-19:00 | Spring | 24/25 | April 2024, March 2025 | 46
Lytchett | SEPD | 5.34 | 17:00-19:00 | Autumn | 24/25 | Sep 2024, Oct 2024, Nov 2024 | 68
Lytchett | SEPD | 5.34 | 17:00-19:00 | Winter | 24/25 | Dec 2024, Jan 2025, Feb 2025 | 68
Flexible Services Webinar

## Slide 18: May 2024: vaou-wa (SHEPD)
CMZ | Licence Area | Capacity Required (MW) | Service Window | Season | Year of Service | Relevant Months | Availability Forecast (Days)
Abernethy | SHEPD | 0.28 | 17:00-19:00 | Winter | 24/25 | Nov 2024, Dec 2024, Jan 2025, Feb 2025, March 2025 | 114
Springhill | SHEPD | 1.5 | 17:00-19:00 | Winter | 24/25 | Nov 2024, Dec 2024, Jan 2025, Feb 2025, March 2025 | 114
Flexible Services Webinar

## Slide 19: August 2024: vaou-wa
CMZ | Licence Area | Capacity Required (MW) | Service Window | Season | First Year of Service | Last Year of Service | Relevant Months | Availability Forecast (Days)
Beaconsfield | SEPD | 3.03 | 17:30-18:30 | Spring | 2025/26 | 2026/27 | Apr 2025, Mar 2026, Apr 2026, Mar 2027 | 46
Beaconsfield | SEPD | 3.03 | 17:30-18:30 | Autumn | 2025/26 | 2026/27 | Sep 2025, Oct 2025, Nov 2025, Sept 2026, Oct 2026, Nov 2026 | 68
Beaconsfield | SEPD | 3.03 | 14:00-20:30 | Winter | 2025/26 | 2026/27 | Dec 2025, Jan 2026, Feb 2026, Dec 2026, Jan 2027, Feb 2027 | 68
Lytchett | SEPD | 5.87 | 18:00-18:30 | Spring | 2025/26 | 2026/27 | April 2025, March 2026, April 2026, March 2027 | 46
Lytchett | SEPD | 5.87 | 18:00-18:30 | Autumn | 2025/26 | 2026/27 | Sep 2025, Oct 2025, Nov 2025, Sept 2026, Oct 2026, Nov 2026 | 68
Lytchett | SEPD | 5.87 | 18:00-19:00 | Winter | 2025/26 | 2026/27 | Dec 2025, Jan 2026, Feb 2026, Dec 2026, Jan 2027, Feb 2027 | 68
Culloden | SHEPD | 0.71 | 17:30–18:00 | Winter | 2025/26 | 2026/27 | Nov 2025, Dec 2025, Jan 2026, Feb 2026, Mar 2026, Nov 2026, Dec 2026, Jan 2027, Feb 2027, Mar 2027 | 114
Burghmuir | SHEPD | 1.08 | 15:00–16:00 | Winter | 2025/26 | 2025/26 | Nov 2025, Dec 2025, Jan 2026, Feb 2026, Mar 2026 | 114
Abernethy | SHEPD | 0.99 | 17:30-18:30 | Winter | 2025/26 | 2025/26 | Nov 2025, Dec 2025, Jan 2026, Feb 2026, Mar 2026 | 114
Stoneywood | SHEPD | 0.09 | 17:30-19:00 | Winter | 2025/26 | 2026/27 | Nov 2025, Dec 2025, Jan 2026, Feb 2026, Mar 2026, Nov 2026, Dec 2026, Jan 2027, Feb 2027, Mar 2027 | 114
Flexible Services Webinar

## Slide 20: August 2024: SAou- Day ahead
CMZ | Licence Area | Estimated Capacity Required (MW) | Estimated Service Window | Availability Days
* Subject to Change |  |  |  | 
Alderton | SEPD | 0.19* | 17:30-20:00* | 28
Alresford | SEPD | TBD | 17:00-18:00* | 28
Ashton Park | SEPD | TBD | 15:30-22:00* | 28
Egham | SEPD | TBD | 17:00-20:30* | 28
Faringdon | SEPD | 1.68* | 15:00-22:00* | 28
Goring | SEPD | TBD | 16:30-21:00* | 28
Harvard Lane | SEPD | 0.22* | 16:30-22:00* | 28
Stokenchurch (AM) | SEPD | 0.90* | 07:30-08:30* | 28
Stokenchurch (PM) | SEPD | 0.90* | 15:00-22:00* | 28
Yetminster | SEPD | TBD | TBD | 28
Yeovil | SEPD | TBD | TBD | 28
Flexible Services Webinar
These are indicative requirements
The requirements will change as short term forecasts become available.

## Slide 21: Market Platform
Iain Dallas Flexibility Markets Analyst

## Slide 22: Market Platform
In Summer 2024/25, we will implement a new market platform for our Flexibility Services – Electron Connect.
The new market platform will help us to engage more FSPs and to improve access to our flexibility markets.
The Electron market platform will cover PQQs, mini-competitions and bidding activities.
It will complement our use of Flexible Power for dispatching services.
It will allow submission of key information using Application Programming Interfaces (APIs) as well as directly in the portal.
The first market to open on the platform will be the longer-term bidding round for Variable Availability + Operational Utilisation - Week Ahead service.
Flexible Services Webinar

## Slide 23
Introducing ElectronConnect
The next generation flexibility market platform for system operators and distributed energy
Pre-qualification
DPS Registration
Mini-competition
1
2
3
4
5
ElectronConnect's configurable market tool covers the end-to-end trading lifecycle for assets & market operators​
Asset Registration
Bidding Window
Flexible Services Webinar

## Slide 24: Key dates
  Platform Go Live
  July-24
  Bidding window
  VAOU: Aug-24
  SAOU: Late Aug-24
Flexible Services Webinar

## Slide 25: PROCUREMENT deadlines
 | Procurement Steps | Deadline
Current Process | Recommended date for DPS submission (for May Mini-Competition) | 10th May 2024
 | May Mini-competition: Overarching agreement acceptance opens | 20th May 2024
 | May Mini-competition: Overarching agreement acceptance closes | 3rd June 2024
 | May Bidding window opens | 20th May 2024
 | May Bidding window closes | 3rd June 2024
Electron Connect | Long and Short Term bidding windows | August 2024
 | Call off contracts awarded | August 2024
 | Flexibility services live | September 2024
 | Launch September Mini-competition | September 2024
Flexible Services Webinar

## Slide 26: THANK YOU FOR JOINING US TODAY
You can contact our team by emailing: flexibilityprocurement@sse.com
Sign up to our DSO Newsletter
Speaker Contact Details:
catherine.winning@sse.com
ronke.ajadi@sse.com Iain.dallas@sse.com
Flexible Services Webinar
Notes: Next DSO newsletter due out 28th May